## Piezometric line
				Rev. cjc. 30.03.2016
Bernoulli and piezometric line				[12]					Page 1 of 3

	Figure 2.1 Total head (energy level) and Pressure head (hidraulic head)

				Page 2 of 3

				Reference level / z1 / z2 / hstat_1 = p1/g / aV12/2g / DH1,2 / aV22/2g / h1 / h2 / Static head or / Pressure head / Static head or / pressure head / Piezometric line / Elevation / Hydraulic head or / Piezometric head / hstat_2 = p2/g / Ground level

				Page 3 of 3
Static head
Static head is the pressure a manometer would show
hstat =	pstat / g	mWc

Piezometric head
Piezometric head or hydraulic head is the level to wich the water surface
would rise if a riser pipe was connected to the pipe at the cross section
h =	z + p/g	mWc
h =	z + hstat

## Ref
[12]	12.- Water_Hammer_in_Pumped_Sewer_Mains. Denmark.pdf